## Baxi_SpareParts_PriceList
Model | ItemNum | Description | UM | Trade Price
PARTS | BD000005213190 | BD,INSULATION SIDE PANEL | EA | 3
PARTS | BD194006007 | BD,WALL BRACKET (EURO RADS) | EA | 3
PARTS | BD3401860 | BD,GASKET FLANGE UB 80/120 INOX | EA | 20
PARTS | BD3402200 | BD,GASKET 32X39X2 (LUNA HT 1.10) | EA | 2
PARTS | BD3402290 | BD,GASKET G1 (LUNA HT 1.10) | EA | 2
PARTS | BD3621200 | BD,CONDENSATE TRAP | EA | 30
PARTS | BD3623460 | BD,SIPHON | EA | 11
PARTS | BD3627180 | BD,ANODE ROD,MODULO | EA | 32
PARTS | BD400020 | BD,O-RING (LUNA 310FI,HT 330/380/1.330) | EA | 2
PARTS | BD400030 | BD,O-RING (HT 330/380, LUNA 3 310FI) | EA | 2
PARTS | BD400090 | BD,O-RING | EA | 2
PARTS | BD410020 | BD,O-RING 13.6 x 2.75,R/BY BD5410020 | EA | 2
PARTS | BD5103360 | BD,SIGHT GLASS FRAME(LUNA 24FI/1.310FI,+ | EA | 2
PARTS | BD5108130 | BD,EXCH CLIPS (BACK) (3.10) | EA | 2
PARTS | BD5108690 | BD,BLANKING PLATE | EA | 2
PARTS | BD5108700 | BD,AIR INTAKE RESTRICTOR (LUNA 1.310/+ | EA | 2
PARTS | BD5111180 | BD,FILTER D13.5 | EA | 4
PARTS | BD5111850 | BD,COMBUSTION CHAMBER PANEL (LUNA 1.310+ | EA | 18
PARTS | BD5112510 | BD,FIXING CLIP F/HEAT EXCHANGER | EA | 2
PARTS | BD5112530 | BD,FIXING CLIP (LUNA) | EA | 2
PARTS | BD5113650 | BD,FIXING CLIP (LUNA HT 1.330/330/380) | EA | 2
PARTS | BD5115810 | BD,HEAT EXCHANGER CLIP | EA | 58
PARTS | BD5115820 | BD,CUP W/INSPECTION HOLE | EA | 41
PARTS | BD5116630 | BD,LEFT AIR DEFLECTOR (LUNA3 1.310/310FI | EA | 9
PARTS | BD5203930 | BD,SIGHT GLASS (LUNA 24FI/1.310FI,+ | EA | 5
PARTS | BD5206620 | BD,CONNECTOR GAS VALVE INLET (LUNA 24FI, | EA | 8
PARTS | BD5207060 | BD,FLUE ADAPTER (LUNA 24FI/1.310FI/+ | EA | 12
PARTS | BD5207730 | BD,GASKET 14.2X18X1.5 (LUNE 310FI,HT + | EA | 2
PARTS | BD5207810 | BD,GASKET 10X14X1.5 (LUNA1.310FI/310FI) | EA | 2
PARTS | BD5207860 | BD,PIN GUIDE (LUNA 24FI/310FI) | EA | 2
PARTS | BD5210410 | BD,GAS VALVE CONNECTOR (HT 330/380/+ | EA | 4
PARTS | BD5210710 | BD,PUMP CONNECTION ELEMENT (LUNA) | EA | 5
PARTS | BD5211090 | BD,FAN OUTLET-CONVEYOR BEND,LUNA + | EA | 10
PARTS | BD5211790 | BD,COMBUSTION CHAMBER UPPER COVER (HT + | EA | 26
PARTS | BD5212090 | BD,TSTAT FIXING ELEMENT | EA | 4
PARTS | BD5212890 | BD,BYPASS PIPE (HT 330) | EA | 10
PARTS | BD5213290 | BD,REAR INSULATION (310) | EA | 10
PARTS | BD5213340 | BD,FRONT INSULATION (310) | EA | 10
PARTS | BD5213560 | BD,COMBUSTION CHAMBER UPPER COVER (HT+ | EA | 27
PARTS | BD5213660 | BD,HEATING RET.CONNECT. EXTENSION (LUNA+ | EA | 13
PARTS | BD5213800 | BD,INLET ELEMENT (HT 1.10) | EA | 90
PARTS | BD5401610 | BD,SIGHT GLASS GASKET (LUNA 24FI/+ | EA | 2
PARTS | BD5402010 | BD,O RING 22.22x2.62 | EA | 2
PARTS | BD5402050 | BD,WASHER-SEALING | EA | 2
PARTS | BD5402700 | BD,O-RING 15.60 X 1.78 (LUNA 3 310FI) | EA | 2
PARTS | BD5402830 | BD,WASHER - SENSOR SEALING | EA | 2
PARTS | BD5403820 | BD,O-RING 26.64 x 2.62 3WAY VALVE + | EA | 2
PARTS | BD5404520 | BD,DHW PLATE EXCHANGER GASKET | EA | 2
PARTS | BD5404600 | BD,O-RING 17.86 x 2.62 | EA | 2
PARTS | BD5404650 | BD,SEALING WASHER G 3/4 | EA | 2
PARTS | BD5404670 | BD,GROMMET,PIPE ASSY (LUNA 24FI/1.310FI+ | EA | 2
PARTS | BD5404920 | BD,ELECTRODE PROTRCTION CAP (LUAN 24FI) | EA | 2
PARTS | BD5404970 | BD,GASKET G3/8 8X15X2 WRC (LUNA 1.310+ | EA | 2
PARTS | BD5405000 | BD,GASKET G1 (LUNA 24FI,HT 1.45/1.65) | EA | 2
PARTS | BD5405130 | BD,SEAL G1 22X30,2X2MM WRC | EA | 2
PARTS | BD5405320 | BD,CH DIAPHRAM (LUNA 1.31/310) | EA | 8
PARTS | BD5405330 | BD,DHW DIAPHRAM (LUNA 1.31/310) | EA | 10
PARTS | BD5405350 | BD,O-RING 20.63X2.62 | EA | 2
PARTS | BD5405370 | BD,O-RING 23.47 X 2.62(LUNA 310FI,HT 33+ | EA | 2
PARTS | BD5405400 | BD,O-RING 2.6 x 1.9 | EA | 2
PARTS | BD5405830 | BD,O-RING | EA | 2
PARTS | BD5405960 | BD,DIAPHRAGM LUNA 1.310Fi | EA | 5
PARTS | BD5405990 | BD,POTENTIOMETER PIN | EA | 2
PARTS | BD5406320 | BD,KNOB SHAFT | EA | 2
PARTS | BD5406360 | BD,O-RING 14X1.78 EP (HT 1.330/330/380) | EA | 2
PARTS | BD5406600 | BD,GASKET IGN GR/SEAL CHAMBER | EA | 2
PARTS | BD5406720 | BD,PRESSURE SWITCH PIPE (HT 1.45/1.65) | EA | 3
PARTS | BD5407050 | BD,FLUE VENTURI (LUNA 1.31/310) | EA | 8
PARTS | BD5407400 | BD,GASKET,BLANKING PLATE | EA | 2
PARTS | BD5407550 | BD,WASHER DIA100 OUTER ADPTR SEAL HT + | EA | 2
PARTS | BD5407820 | BD,CONTROL PANEL COVER (LUNA 310FI/+ | EA | 4
PARTS | BD5407830 | BD,ELECTRODE PROTECT CAP | EA | 3
PARTS | BD5407840 | BD,SENSOR CLIP LUNA 3 1.310FI/310FI | EA | 2
PARTS | BD5407940 | BD,GASKET,BURNER MANIFOLD (LUNA 24FI/+ | EA | 2
PARTS | BD5408150 | BD,KNOB SILVER LUNA 2000 | EA | 3
PARTS | BD5408270 | BD,O-RING 11.91 X 2.62 NBR | EA | 2
PARTS | BD5408560 | BD,O-RING 8.73 x 1.78 | EA | 2
PARTS | BD5408570 | BD,COVER,ELECTRICAL BOX | EA | 12
PARTS | BD5408970 | BD,GASKET G1/2 12 x 18 x 2 WRC | EA | 2
PARTS | BD5409020 | BD,FLUE ADAPTOR HE (HT 1.330/330/380) | EA | 12
PARTS | BD5409080 | BD,COMB CHAMBER GASKET | EA | 30
PARTS | BD5409090 | BD,BURNER GASKET (LUNA HT) | EA | 3
PARTS | BD5409100 | BD,INSULATION (HT 133/330) | EA | 14
PARTS | BD5409140 | BD,HOSE SILICONE D.8 L=700MM | EA | 4
PARTS | BD5409240 | BD,GROMMET,PIPE ASSY D.10 (HT1.10/+ | EA | 2
PARTS | BD5409270 | BD,GASKET,AIR COLLECTOR D.70 (HT1.45/+ | EA | 2
PARTS | BD5409280 | BD,TAP ADAPTOR | EA | 2
PARTS | BD5409290 | BD,GASKET,SITE GLASS (HT1.1000/330/380+ | EA | 2
PARTS | BD5409310 | BD,SYPHON PIPE | EA | 5
PARTS | BD5409350 | BD,O-RING 2.62X58.42 SILICONE | EA | 2
PARTS | BD5409410 | BD,GASKET EXCHANGER 5/6 E (HT 1.330/+ | EA | 2
PARTS | BD5410020 | BD,O-RING 13.6X2.7 | EA | 2
PARTS | BD5410420 | BD,RUBBER GASKET | EA | 2
PARTS | BD5410450 | BD,REAR INSULATION | EA | 21
PARTS | BD5410480 | BD,GASKET(HT 1.330/330/380) | EA | 6
PARTS | BD5410530 | BD,KNOB SELECTOR SWITCH Luna 330Fi | EA | 3
PARTS | BD5410700 | BD,GASKET,FLUE SEPARATOR (HT 1.45/1.65) | EA | 2
PARTS | BD5410710 | BD,GASKET,COMBUSTION CHAMBER HT(1.45+ | EA | 2
PARTS | BD5410730 | BD,INSULATION,BURNER FLANGE (HT 1.10/+ | EA | 18
PARTS | BD5410740 | BD,BURNER GASKET HT(1.1000/1.45/1.65) | EA | 2
PARTS | BD5410750 | BD,CONDENSATE HOSE (HT 1.45/1.65) | EA | 9
PARTS | BD5410900 | BD,VENTURI GASKET | EA | 3
PARTS | BD5410950 | BD,FLUE ADAPTER LUNA HT 380 | EA | 10
PARTS | BD5411000 | BD,GASKET,COMBUSTION CHAMBER | EA | 7
PARTS | BD5411020 | BD,INSULATING PANEL | EA | 23
PARTS | BD5411420 | BD,VENTURI GASKET (HT 1.33/330/380/1.45 | EA | 3
PARTS | BD5411560 | BD,DRAIN HOSE NO 673 | EA | 13
PARTS | BD5411610 | BD,DISCHARGE PIPE | EA | 7
PARTS | BD5411700 | BD,GASKET D. 60 (HT 330/380/1.330) | EA | 4
PARTS | BD5411840 | BD,O-RING 40.95 X 2.62 EPDM (DUO-TEC) | EA | 2
PARTS | BD5412270 | BD,HI TEMP GASKET | EA | 3
PARTS | BD5412710 | BD,GASKET,SILICONE,60MM (LUNA3) | EA | 2
PARTS | BD5413270 | BD,GASKET,HT COAXIAL 60M VENT | EA | 4
PARTS | BD5413370 | BD,COVER,TERMINAL BLOCK (LUNA3 1.310FI/+ | EA | 4
PARTS | BD5413380 | BD,GASKET,HT DUAL FLUE 80MM VENT | EA | 4
PARTS | BD5413960 | BD,GASKET,FOAM,HEAT EXCH 45-65KW | EA | 2
PARTS | BD5625830 | BD,AUTOMATIC AIR VENT | EA | 14
PARTS | BD5628230 | BD,120-101 PMP PRESSOSTAT | EA | 68
PARTS | BD5629950 | BD,PRESSURE DIFFERENTIAL ASSEMBLY + | EA | 92
PARTS | BD5630020 | BD,FILTER & VENTURI ASSY | EA | 28
PARTS | BD5630170 | BD,HYDRAULIC VENTURI ASSEMBLY+ | EA | 13
PARTS | BD5630180 | BD,FILLING TAP ASSY (LUNA 310FI) | EA | 16
PARTS | BD5630190 | BD,BYPASS ASSY (LUNA 24FI/310FI) | EA | 30
PARTS | BD5630240 | BD,PRESSURE SWITCH ASSY | EA | 4
PARTS | BD5630250 | BD,PIN GUIDE ASSEMBLY | EA | 16
PARTS | BD5630260 | BD,MICROSWITCH PIN (F/310FI) | EA | 10
PARTS | BD5630270 | BD,DHW PLATE DIAPHRAM PKG | EA | 16
PARTS | BD5633140 | BD,GAS RAMP WITH INJECTORS N.G. (LUNA + | EA | 30
PARTS | BD5641910 | BD,INDUCER FAN (LUNA 24FI) | EA | 95
PARTS | BD5643090 | BD,PRESSURE PIPE ADAPTER+ | EA | 2
PARTS | BD5643300 | BD,GAS VALVE (LUNA 1.310/310) | EA | 139
PARTS | BD5643310 | BD,PUMP GRUNDFOS LUNA 24FI | EA | 221
PARTS | BD5643910 | BD,MICROSWITCH ASSEMBLY (LUNA 1.31/310) | EA | 18
PARTS | BD5644810 | BD,SUPPLY VALVE | EA | 49
PARTS | BD5645660 | BD,BY-PASS PLUG ASSY LUNA 310Fi/1.310Fi | EA | 9
PARTS | BD5646170 | BD,HEATING PLATE ASSEMBLY(LUNA 1.31/310) | EA | 8
PARTS | BD5646180 | BD,SANITARY PLATE ASSY LUNA 24FI/310Fi | EA | 8
PARTS | BD5646190 | BD,SANITARY PLUG ASSEMBLY | EA | 40
PARTS | BD5646200 | BD,3-WAY VALVE (310) | EA | 284
PARTS | BD5646780 | BD,DRAINING TAP G 1/2 | EA | 10
PARTS | BD5652030 | BD,DRAIN AND TAP | EA | 10
PARTS | BD5652190 | BD,DHW 22-PLATE HEAT EX.,R/BY BD5689930 | EA | 62
PARTS | BD5652730 | BD,AUTO AIR VENT | EA | 11
PARTS | BD5653180 | BD,CONVEYOR ASSY (LUNA 310,NIAGARA + | EA | 12
PARTS | BD5653260 | BD,BYPASS PIPE ASSY LUNA 310FI | EA | 20
PARTS | BD5653270 | BD,PRESSURE PIPE, NEGATIVE (LUNA 310FI) | EA | 9
PARTS | BD5653300 | BD,BURNER ASSEMBLY | EA | 30
PARTS | BD5653590 | BD,3WAY VLV/PRESS SW SENSOR ASSY (310FI) | EA | 273
PARTS | BD5655460 | BD,EXCHANGER/ 3 PORT VALVE PIPE (LUNA + | EA | 16
PARTS | BD5655650 | BD,HYDRAULIC INLET ASSY (HT 1.330,LUNA + | EA | 110
PARTS | BD5656010 | BD,EXCHANGER/3 PORT VALVE PIPE (LUNA + | EA | 17
PARTS | BD5656440 | BD,ELBOW-DHW OUTLET | EA | 7
PARTS | BD5657230 | BD,FLOW REGULATOR (24/310) | EA | 12
PARTS | BD5657300 | BD,FILLING PIPE ASSY (LUNA 310FI) | EA | 11
PARTS | BD5659060 | BD,HYDRAULIC INLET GROUP (LUNA3 1.310FI) | EA | 100
PARTS | BD5659420 | BD,HYDRAULIC ASSEMBLY | EA | 100
PARTS | BD5659760 | BD,RELIEF VALVE (131) | EA | 306
PARTS | BD5659840 | BD,HIGH VOLT HARNESS (310F) | EA | 41
PARTS | BD5659850 | BD,IGNITOR WITH LEAD | EA | 16
PARTS | BD5659860 | BD,LOW VOLTAGE WIRE HARNESS | EA | 16
PARTS | BD5660090 | BD,CIRCUIT BOARD (LUNA 1.31/310 ) | EA | 202
PARTS | BD5660110 | BD,FAN (LUNA 1.31/310) | EA | 75
PARTS | BD5660130 | BD,GAS TAP GR. CANADA (LUNA 3 1.310FI/+ | EA | 31
PARTS | BD5662630 | BD,EXPANSION TANK (HT 1.33/330/380) | EA | 90
PARTS | BD5663020 | BD,BY-PASS PLUG ASSY (LUNA 3 1.310FI/HT+ | EA | 3
PARTS | BD5663310 | BD,AIR VENT PIPE ASSY HT380 | EA | 6
PARTS | BD5663330 | BD,PRESSURE SENSING VENTURI (HT 1.330/+ | EA | 30
PARTS | BD5663350 | BD,BY-PASS PIPE EXCHANGER HT380 | EA | 20
PARTS | BD5663430 | BD,BURNER (HT) | EA | 60
PARTS | BD5666130 | BD,FLOW RESTRICTOR 12L/MIN (HT 330/380) | EA | 10
PARTS | BD5667220 | BD,FLOW SENSOR | EA | 20
PARTS | BD5669850 | BD,PRESSURE RELIEF VALVE 30 PSI | EA | 35
PARTS | BD5669880 | BD,BALL VALVE BLUE HANDLE | EA | 29
PARTS | BD5669930 | BD,BAXI INSTALL KIT (310) | EA | 175
PARTS | BD5670530 | BD,AIR VENT PIPE ASSEY (HT 1.650/1.450) | EA | 10
PARTS | BD5670560 | BD,BURNER - 70/90 KW (LUNA HT 1.650) | EA | 77
PARTS | BD5670570 | BD,PRESSURE SENSING VENTURI (HT 380) | EA | 55
PARTS | BD5670590 | BD,INLET PIPE ASSY (HT 1.650/1.450) | EA | 31
PARTS | BD5670600 | BD,OUTLET PIPE ASSY (HT 1.650/1.450) | EA | 31
PARTS | BD5671540 | BD,HYDRAULIC INLET ASSY W/HALL EFFECT + | EA | 110
PARTS | BD5671910 | BD,FILLING PIPE ASSEMBLY HT330/380 | EA | 9
PARTS | BD5672730 | BD,3 WAY VALVE ASSEMBLY (HT 1.33) | EA | 90
PARTS | BD5672770 | BD,BY-PASS PIPE ASSEMBLY | EA | 13
PARTS | BD5672790 | BD,HEAT EXCHANGER | EA | 492
PARTS | BD5672840 | BD,MODULATION PCB | EA | 152
PARTS | BD5674690 | BD,PCB LMU 34 120V,R/BY BD5689510 | EA | 230
PARTS | BD5676540 | BD,3 WAY VALVE MOTOR,R/BY BD5696390 | EA | 23
PARTS | BD5676560 | BD,GAS VALVE (HT 330) | EA | 67
PARTS | BD5676570 | BD,HEAT EXCHANGER (HT 1.33/330/380) | EA | 1327
PARTS | BD5676580 | BD,FAN (HT 1.33/330/380) | EA | 229
PARTS | BD5676600 | BD,PIPE HEATING FLOW (HT) | EA | 23
PARTS | BD5676610 | BD,SPARK GENERATOR (HT 1.33/330/380/+ | EA | 20
PARTS | BD5676650 | BD,FAN (HT 1.45/1.65) | EA | 400
PARTS | BD5676670 | BD,GAS VALVE SIT SIGMA 848 (HT 1.45/+ | EA | 53
PARTS | BD5676700 | BD,GAS PIPE ASSY (HT 1.650) | EA | 24
PARTS | BD5676710 | BD,PANEL PLATE/FACIA (HT 1.100/1.450/+ | EA | 40
PARTS | BD5677900 | BD,RETURN/FILLING TAP ASSEMBLY | EA | 107
PARTS | BD5677920 | BD,SYPHON BODY ASSEMBLY (HT) | EA | 8
PARTS | BD5678070 | BD,FLOW RESTRICTOR | EA | 8
PARTS | BD5678840 | BD,90 DEG. FOR RELIEF VALVE | EA | 12
PARTS | BD5681690 | BD,CONNECTOR PIPE G1-1/4 (HT 1.100) | EA | 18
PARTS | BD5682660 | BD,FACE PLATE (COMFORT 3) | EA | 9
PARTS | BD5682690 | BD,REMOTE CONTROL ASSEMBLY (LUNA 3 + | EA | 79
PARTS | BD5682820 | BD,FACIA ASSY | EA | 23
PARTS | BD5683540 | BD,3 WAY VALVE/MB GROUP LUNA3 | EA | 127
PARTS | BD5686680 | BD,DHW PLATE LUNA (Q310) | EA | 50
PARTS | BD5687130 | BD,INLET VALVE | EA | 101
PARTS | BD5688850 | BD,PIPE ASSY ,PUMP/EXCHANGER (LUNA3 + | EA | 20
PARTS | BD5689330 | BD,GAS VALVE (Q310) | EA | 65
PARTS | BD5689340 | BD,HEAT EXCHANGER ASSY,1.310FI/310FI | EA | 374
PARTS | BD5689370 | BD,PCB BRD (LUNA 3) | EA | 155
PARTS | BD5689400 | BD,FLUE CONVEYOR ASSY (LUNA3 1.310FI/+ | EA | 20
PARTS | BD5689510 | BD,PC BOARD (HT 1.33/330/380/1.45/1.65) | EA | 230
PARTS | BD5689660 | BD,FRONT PANEL COMB CHAMBER (HT 1.650/+ | EA | 40
PARTS | BD5689930 | BD,DHW PLATE W/GASKETS (HT 380) | EA | 182
PARTS | BD5690110 | BD,PCB INTERFACE AGU2.00 | EA | 38
PARTS | BD5690740 | BD,EXPANSION TANK (LUNA3,24FI/310FI) | EA | 85
PARTS | BD5691810 | BD,GAS VALVE (HT 380) | EA | 67
PARTS | BD5695450 | BD,NTC SENSOR SUPPLY PIPE(LUNA 1.31/+ | EA | 10
PARTS | BD5695910 | BD,HEAT EXCHANGER ASSY (HT 1.450) | EA | 2530
PARTS | BD5695920 | BD,HEAT EXCHANGER ASSY (HT 1.650) | EA | 3075
PARTS | BD5696370 | BD,HYDRAULIC INLET ASSY W/O BYPASS 10L | EA | 110
PARTS | BD5696680 | BD,3/4 HEATING SUPPLY VALVE | EA | 14
PARTS | BD5696840 | BD,INLET ASSEMBLY | EA | 110
PARTS | BD5697890 | BD,FLUE COLLECTOR | EA | 34
PARTS | BD600530 | BD,JOINT ASSY W/SCREWS | EA | 3
PARTS | BD600750 | BD,SANITARY PLUG ASSEMBLY (HT) | EA | 25
PARTS | BD600760 | BD,DHW PADDLE ASSEMBLY (HT) | EA | 17
PARTS | BD605760 | BD,HEATING PLATE ASSY | EA | 7
PARTS | BD607250 | BD,3 PORT/PRESSURE SWITCH ASSY | EA | 235
PARTS | BD607290 | BD,AIR VENT VALVE | EA | 14
PARTS | BD607410 | BD,MANIFOLD BURNER (LUNA 1.310FI/310FI) | EA | 20
PARTS | BD608430 | BD,N.G. INJECTOR KIT(LUNA 310FI/1.310FI) | EA | 10
PARTS | BD608450 | BD,CONVERSION KIT L.P. (15 X 0.77) | EA | 10
PARTS | BD608550 | BD,PRIMARY EXCHANGER W/CLIPS | EA | 230
PARTS | BD611930 | BD,HYDRONIC INLET FILLING ASSEMBLY | EA | 14
PARTS | BD613080 | BD,LPG INJECTOR KIT (LUNA 1.310FI/310FI) | EA | 15
PARTS | BD617100 | BD,HYD. OUTLET ASSEMBLY BYPASS (HT) | EA | 34
PARTS | BD619630 | BD,PRESSURE SWITCH 400-350 PA (HT) | EA | 34
PARTS | BD620210 | BD,SPRING ASSY LUNA 3 1.310FI/310FI | EA | 8
PARTS | BD62350000 | BD,MOLIKOTE GREESE | EA | 85
PARTS | BD626710 | BD,DHW PADDLE GROUP | EA | 65
PARTS | BD627880 | BD,DHW PADDLE ASSEMBLY,R/BY BD711356900 | EA | 65
PARTS | BD632310 | BD,C FRAME CANADA BIT. WITH CAP | EA | 36
PARTS | BD710014800 | BD,UPPER SUPPORT | EA | 4
PARTS | BD710017200 | BD,GASKET MANOMETER | EA | 2
PARTS | BD710022400 | BD,EXPANSION TANK 10L (DUO-TEC) | EA | 100
PARTS | BD710039800 | BD,CONDENSING WATER TRAY 80/60(DUO-TEC+ | EA | 2
PARTS | BD710045700 | BD,O-RING | EA | 2
PARTS | BD710061400 | BD,O-RING GAS 18X3 | EA | 2
PARTS | BD710067400 | BD,O-RING 19X2.62 | EA | 9
PARTS | BD710079500 | BD,CARTON BOX | EA | 4
PARTS | BD710079700 | BD,NTC CABLE (DUO-TEC) | EA | 3
PARTS | BD710089600 | BD,GAS VLV SGV100 | EA | 122
PARTS | BD710106700 | BD,FLAT SPRING (DUO-TEC 30GA) | EA | 2
PARTS | BD710109100 | BD,PRESSURE SENSOR | EA | 26
PARTS | BD710110600 | BD,CLIP BITRON | EA | 2
PARTS | BD710126200 | BD,CABLE IGNITION ELECTRODE B&P + | EA | 12
PARTS | BD710126300 | BD,7 PUSH BUTTON PANEL B&P | EA | 4
PARTS | BD710156200 | BD,SEAL FILLING TAP | EA | 2
PARTS | BD710168400 | BD,FILLING TAP GASKET | EA | 5
PARTS | BD710176000 | BD,COMBUSTION CHAMBER GASKET C | EA | 2
PARTS | BD710185200 | BD,FLAME SENSING ELEC GASKET | EA | 2
PARTS | BD710185300 | BD,IGN ELCTRD GSKT+ | EA | 2
PARTS | BD710185800 | BD,PUMP CONNECTING ELEMENT WILO | EA | 4
PARTS | BD710187900 | BD,DRAINING TAP (DUO-TEC 30GA) | EA | 7
PARTS | BD710189600 | BD,PLASTIC PLUG FASTPOINT (DUO-TEC 30GA) | EA | 2
PARTS | BD710220000 | BD,ELECTRODE - IGNITION | EA | 20
PARTS | BD710220700 | BD,FLAME SENSOR,IONIZATION (LUNA HT) | EA | 9
PARTS | BD710220702 | BD,FLAME SENSOR,IONIZATION (LUNA HT) | EA | 9
PARTS | BD710227300 | BD,SENSING ELECTRODE | EA | 12
PARTS | BD710283600 | BD,COMBUSTION CHAMBER REAR INSL | EA | 24
PARTS | BD710283700 | BD,REAR INSULATION (DUO-TEC) | EA | 45
PARTS | BD710372400 | BD,JOINT EXCH.DUOZ FOR PIPE D.28 | EA | 18
PARTS | BD710373100 | GASKET CONDENSY BOX | EA | 3
PARTS | BD710373400 | BD,CONDENSATE COLLECTOR LUNA4 HT | EA | 9
PARTS | BD710381000 | BD,GASKET FOR PIPE D.160 | EA | 4
PARTS | BD710381300 | BD,GASKET FOR PIPE D.110 | EA | 3
PARTS | BD710386000 | BD,AIR GAS COLLECTOR (LUNA4 HT) | EA | 72
PARTS | BD710390600 | BD,GASKET GAS VALVE M-M | EA | 2
PARTS | BD710397800 | BD,GASKET G1"C.S.31X42X3 | EA | 2
PARTS | BD710401900 | BD,BURNER 65KW | EA | 52
PARTS | BD710402200 | BD,MIXER BIG BICLAP D.30MM | EA | 95
PARTS | BD710411900 | BD,PIPE DEAREATION (LUNA4 HT 100KW) | EA | 7
PARTS | BD710424200 | BD,FLAME SENSOR | EA | 16
PARTS | BD710439300 | BD,SUPPLY/RETURN TEMP SENSOR | EA | 14
PARTS | BD710440000 | BD,GASKET SYPHON (LUNA4 HT1.90/110) | EA | 9
PARTS | BD710450600 | BD,GASKET FLUE (LUNA4 HT) | EA | 2
PARTS | BD710461000 | BD,BURNER 100KW | EA | 284
PARTS | BD710493600 | BD,AIR VENT PUMP | EA | 28
PARTS | BD710547500 | BD,MANOMETER 0-4BAR L=1000 | EA | 12
PARTS | BD710554900 | BD,PRESSURE GUAGE | EA | 33
PARTS | BD710583600 | BD,EXPANSION VESSEL PIPE (DUO-TEC 30GA) | EA | 8
PARTS | BD710584000 | BD,MANOMETER (DUO-TEC 30GA) | EA | 33
PARTS | BD710630400 | BD,EXPANSION TANK 7L (DUO-TEC 30GA) | EA | 85
PARTS | BD710633100 | BD,MANOMETER | EA | 2
PARTS | BD710682400 | BD,NTC SENSOR | EA | 10
PARTS | BD710718800 | BD,POLIDORO VENTURI FOR LP,240 | EA | 119
PARTS | BD710719000 | BD,KIT GPL (DUO-TEC MP 110) | EA | 119
PARTS | BD710722100 | BD,FLUE CONNECTION ASS.D.100/160 | EA | 32
PARTS | BD710731500 | BD,CONFIGURATION KEY (DUO-TEC 30GA) | EA | 70
PARTS | BD710784800 | BD,SUCTION CAP GASKET | EA | 2
PARTS | BD710786500 | BD,PUMP UPR 15-58 2VEL L4 120V | EA | 166
PARTS | BD710831500 | BD,NTC SENSOR | EA | 6
PARTS | BD710963000 | BD,O-RING 21,5X3 EP70 TFL | EA | 2
PARTS | BD710973300 | BD,PANEL FACIA (HT 1.330/380) | EA | 30
PARTS | BD710993000 | BD,GAS VALVE POWER CABLE | EA | 9
PARTS | BD710993100 | BD,LOW TENSION CABLE | EA | 16
PARTS | BD710993300 | BD,CABLE 3WAY VLV/PUMP/FAN | EA | 27
PARTS | BD710993500 | BD,CABLE EXTERNAL BOILER | EA | 11
PARTS | BD711016500 | BD,OUTDOOR SENSOR HARNESS | EA | 26
PARTS | BD711026200 | BD,SIDE PANEL RIGHT | EA | 26
PARTS | BD711051500 | BD,PUMP UP 15-60 A0 120V(LUNA 1.31/310+ | EA | 148
PARTS | BD711065800 | BD,CABLE NTC FLUE | EA | 8
PARTS | BD711073900 | BD,FAN MOTOR (DUO-TEC) | EA | 287
PARTS | BD711074800 | BD,CONTROL PANEL | EA | 20
PARTS | BD711078200 | BD,CONTROL BOX | EA | 11
PARTS | BD711078500 | BD,FLOW PIPE | EA | 15
PARTS | BD711085100 | BD,FLUE CONNECTION 60/100 | EA | 10
PARTS | BD711107400 | BD,DIVERING VALVE W/O BYPASS (HT) | EA | 155
PARTS | BD711107500 | BD,PORT VALVE BYPASS (LUNA 3) | EA | 120
PARTS | BD711129800 | BD,HYDROBLOCK ASSY | EA | 8
PARTS | BD711139000 | BD,CONDENSATE DISCHARGE PIPE | EA | 10
PARTS | BD711146300 | BD,PUMP GRUNDFOS(LUNA 1.31/310, + | EA | 174
PARTS | BD711163600 | BD,HEAT EXCHANGER ISOTHERMIC | EA | 1699
PARTS | BD711178600 | BD,PIPE GAS VALVE/MIXER | EA | 48
PARTS | BD711180900 | BD,O-RING 18X3 EPDM | EA | 2
PARTS | BD711187500 | BD,AIR GAS COLLECTOR | EA | 29
PARTS | BD711189300 | BD,HYDRAULIC INLET ASSY 14L | EA | 122
PARTS | BD711217400 | BD,TH WIRING | EA | 7
PARTS | BD711228800 | BD,HEATING GROUP ASSEMBLY (HT 330) | EA | 116
PARTS | BD711230600 | BD,O-RING | EA | 2
PARTS | BD711238100 | BD,INLET ELEMENT G1 | EA | 37
PARTS | BD711250600 | BD,IGN ELECTRODE CABLE (40GA) | EA | 16
PARTS | BD711254500 | BD,IGNITION SPARK HARNESS | EA | 9
PARTS | BD711254800 | BD,CONNECTION PACK (40GA) | EA | 195
PARTS | BD711275500 | BD,ACCESSORIES SET (LUNA DUO TEC) | EA | 10
PARTS | BD711296900 | BD,O-RING (LUNA 1.31) | EA | 2
PARTS | BD711350300 | BD,O-RING 13.94X2.62 TFL | EA | 81
PARTS | BD711356900 | BD,3 WAY VALVE CARTRIDGE | EA | 65
PARTS | BD711366900 | *BD,ROOM TSAT PCB,R/BY BD711366901V | EA | 46
PARTS | BD711370000 | BD,PCB BOARD | EA | 298
PARTS | BD711370100 | BD,EASY SERVICE KEY (DUO-TEC) | EA | 62
PARTS | BD711405000 | BD,COMBUSTION CHAMBER GASKET | EA | 7
PARTS | BD711425800 | BD,PUMP/EXCHANGER PIPE ASSEMBLY | EA | 22
PARTS | BD711425900 | BD,FLOW PIPE 6E | EA | 16
PARTS | BD711427700 | BD,SAFETY THERMOSTAT 260°C | EA | 7
PARTS | BD711447000 | BD,HEAT EXCHANGER BASIC 6E CAN | EA | 1604
PARTS | BD711473200 | BD,HX REAR INSULATION | EA | 12
PARTS | BD711518600 | BD,REAR INSULATION PANEL 182.5X10mm | EA | 65
PARTS | BD711518700 | BD,LEFT BRACKET COMBI 80L | EA | 65
PARTS | BD711571000 | BD,COMBUSTION CHAMBER UPPER COVER | EA | 61
PARTS | BD711605800 | BD,3-WAY VALVE BLOCK | EA | 166
PARTS | BD711607100 | BD,HYDRAULIC INLET ASSY 14L | EA | 122
PARTS | BD711607300 | BD,HYDRAULIC INLET GR.WITH OUT BYPASS 10 | EA | 126
PARTS | BD711613000 | BD,DHW PLATE EXCHANGER 14 PLATES | EA | 48
PARTS | BD711613500 | BD,DHW PLATE EXCH O-RING (DT/Q310) | EA | 2
PARTS | BD711633500 | BD,LUNA COMFORT INLET FILTER GROUP + | EA | 38
PARTS | BD711633600 | BD,INLET FILTER (DUO-TEC) | EA | 36
PARTS | BD711633900 | BD,FILTER VENTURI & PADDLE ASSEMBLY | EA | 34
PARTS | BD714059110 | BD,DUAL FLUE KIT | EA | 19
PARTS | BD714059611 | BD,TERMINATION (HT) | EA | 39
PARTS | BD714059812 | BD,COAXIAL 45 (HT) | EA | 31
PARTS | BD714072811 | BD,OUTDOOR AIR SENSOR QAX34 | EA | 35
PARTS | BD714076810 | BD,H/W SENSOR DHW W/LEAD PROBE (HT 145+ | EA | 11
PARTS | BD714106410 | BD,Q3 CONTROLLER | EA | 91
PARTS | BD721543100 | BD,BURNER GASKET ASSY | EA | 8
PARTS | BD721547200 | BD,2 WAY SYPHON H=240MM | EA | 53
PARTS | BD721547500 | BD,NATALINI SIPHON H=240MM | EA | 56
PARTS | BD721547600 | BD,PIPE DHW INLET | EA | 39
PARTS | BD721548800 | BD,PIPE EXCHANGER/SYPHON (LUNA4 HT100KW) | EA | 10
PARTS | BD721552600 | BD,PIPE HEAT EXCHANGER/SIPHON | EA | 30
PARTS | BD721613000 | BD,GAS VALVE SIT 848 120V-60HZ | EA | 53
PARTS | BD721622200 | BD,PIPE EXCHANGER/SYPHON | EA | 11
PARTS | BD721623500 | BD,EXCHANGER CLIP | EA | 2
PARTS | BD721632600 | BD,CONDENSATE PIPE/SYPHON | EA | 16
PARTS | BD721696400 | BD,SYPHON GASKET | EA | 2
PARTS | BD721700300 | BD,INLET ELEMENT G1-1/2" NPT | EA | 46
PARTS | BD721705200 | BD,DISCHARGE PIPE SYPHON | EA | 7
PARTS | BD721708300 | BD,CONDENSATE/SYPHON PIPE | EA | 10
PARTS | BD721796800 | BD,FAN WIRING | EA | 10
PARTS | BD721804700 | BD,IGNITOR WIRING | EA | 11
PARTS | BD721807000 | BD,GAS VALVE WIRING | EA | 11
PARTS | BD721807500 | BD,POWER SUPPLY PUMP WIRING | EA | 13
PARTS | BD721808400 | BD,SAFETY TH/FAN WIRING | EA | 21
PARTS | BD721814100 | BD,SENSORS WIRING | EA | 25
PARTS | BD721838500 | BD,SAFETY TH/FAN WIRING | EA | 19
PARTS | BD721851900 | BD,SAFETY VALVE 50 PSI CANADA | EA | 87
PARTS | BD721890900 | BD,FAN PRESSURE SWITCH | EA | 28
PARTS | BD7219211 | BD,CABLE ELECTRODE IGNITION | EA | 8
PARTS | BD721924300 | BD,FRONTAL INSULATING PANEL | EA | 21
PARTS | BD721935400 | BD,SENSORS WIRING | EA | 27
PARTS | BD721984600 | BD,FRONTAL INSULATING PANEL | EA | 14
PARTS | BD722003800 | BD,COMBUSTION CHAMBER GASKET | EA | 18
PARTS | BD722224000 | BD,PUMP UP 26-96 F | EA | 548
PARTS | BD722266400 | BD,CONTROL BOX/PCB SCU CONNECTING | EA | 13
PARTS | BD722267400 | BD,SECONDARY ELECTRIC BOX POWER WI | EA | 13
PARTS | BD722323300 | BD,PUMP GASKET | EA | 2
PARTS | BD722354800 | BD,PUMP UPER 25-78 115V 60 HZ | EA | 244
PARTS | BD722358700 | BD,FAN 250W 120V 60 HZ | EA | 704
PARTS | BD722406400 | BD,PIPE GAS VALVE/MIXER | EA | 65
PARTS | BD722410200 | BD,POWER SUPPLY PUMP UP26-96F WIRING | EA | 11
PARTS | BD722577700 | BD,PCB POWER WIRING SECONDARY BOX | EA | 8
PARTS | BD722577800 | BD,POWER SUPPLY WIRING | EA | 15
PARTS | BD722591600 | BD,MIXER 1.110 CANADA | EA | 90
PARTS | BD722601800 | BD,NTC SENSOR | EA | 6
PARTS | BD764905800 | BD,IGNITER 115V | EA | 22
PARTS | BD764989600 | BD,PCB SCU-S02 | EA | 122
PARTS | BD764997600 | BD,PCB HONEYWELL OTZTC,240/380 | EA | 137
PARTS | BD765553600 | BD,PCB PCU-04 | EA | 212
PARTS | BD765553700 | BD,SAFETY PCB | EA | 60
PARTS | BD765553800 | BD,CONFIGURATION KEY | EA | 24
PARTS | BD765745300 | BD,PARAMETER KEY PSU-01 | EA | 2
PARTS | BD765806300 | BD,SIPHON BODY H200 (DUO-TEC 30GA) | EA | 22
PARTS | BD765806400 | BD,SIPHON BODY H220 | EA | 23
PARTS | BD766389600 | BD,KIT GPL DUO-TEC 70 | EA | 129
PARTS | BD767362900 | BD,FAN GASKET (DUO-TEC 30GA) | EA | 2
PARTS | BD767486200 | BD,INLET FILTER (DUO-TEC) | EA | 36
PARTS | BD768484100 | BD,3 WAY VLV/FAN/PUMP WIRING+ | EA | 26
PARTS | BD768484700 | BD,SAFETY TH (DUO-TEC 30GA) | EA | 4
PARTS | BD768484800 | BD,CONDENSATE SENSOR (DUO-TEC 30GA) | EA | 15
PARTS | BD768485800 | BD,FRONTAL INSULATING PANEL (DUO-TEC + | EA | 15
PARTS | BD768486200 | BD,PCB B&P HAGC03 BX04 (DUO-TEC 30GA) | EA | 166
PARTS | BD768487700 | BD,PCB INTERFACE (DUO-TEC 30GA) | EA | 44
PARTS | BD8101440 | BD,SAFETY VALVE 50 PSI CANADA | EA | 2
PARTS | BD8380520 | BD,SPRING LUNA HT 380/1.330 | EA | 4
PARTS | BD8380530 | BD,SPRING LUNA 310Fi/1.310Fi | EA | 4
PARTS | BD8380540 | BD,DHW SPRING FOR DIPHRAGM ASSY (310FI) | EA | 4
PARTS | BD8380680 | BD,FIXING SPRING | EA | 2
PARTS | BD8380730 | BD,FLAP FIXING SPRING (LUNA 310FI/+ | EA | 2
PARTS | BD8380780 | BD,FIXING SPRING FOR EXCHANGER (HT 330/+ | EA | 2
PARTS | BD8380850 | BD,FIXING CLIP | EA | 2
PARTS | BD8418870 | BD,FLAME SENSOR CABLE | EA | 2
PARTS | BD8419050 | BD,LEAD IGNITION WIRE | EA | 2
PARTS | BD8419980 | BD,FLAME SENSING ELECTRODE CABLE | EA | 2
PARTS | BD8422570 | BD,IGNITION ELECTRODE (LUNA 1.31/310) | EA | 8
PARTS | BD8422580 | BD,IGNITION ELECTRODE-FRT(LUNA 24FI+ | EA | 8
PARTS | BD8422730 | BD,FUSE 3,15A 250V | EA | 2
PARTS | BD8434160 | BD,LIMIT THERMOSTAT 95°C UL-CSA (LUNA + | EA | 20
PARTS | BD8434550 | BD,NIAGARA (LUNA 1.31/310, HT 1.33/330/+ | EA | 20
PARTS | BD8434820 | BD,NTC SENSOR (LUNA 1.31/310) | EA | 20
PARTS | BD8434830 | BD,FLUE TEMP SENSOR 75 DEG.C. (HT 1.33/+ | EA | 20
PARTS | BD8434840 | BD,NTC SENSOR,R/BY BD8435400 | EA | 5
PARTS | BD8435280 | BD,DHW HALL EFFECT SENSOR (HT 1.33/330/+ | EA | 11
PARTS | BD8435310 | BD,NIAGARA CLIP ON NTC SENSOR | EA | 9
PARTS | BD8435330 | BD,FLUE SAFETY (HT 1.33/330/380/1.10) | EA | 5
PARTS | BD8435380 | BD,FLOW RILEVATOR | EA | 19
PARTS | BD8435400 | BD,NTC SENSOR (MODULO,HT) | EA | 16
PARTS | BD8440230 | BD,SIT TANDEM MODULATOR (LUNA 24FI) | EA | 23
PARTS | BD8510970 | BD,IGNITION ELECTRODE CBL(HT1.45/1.65) | EA | 5
PARTS | BD8510980 | BD,CABLE EARTH/IGNITOR(HT 330/380/1.330) | EA | 6
PARTS | BD8511130 | BD,FLAME SENSING ELECTRODE CABLE | EA | 10
PARTS | BD8511140 | BD,IGNITION ELECTRODE WIRE | EA | 9
PARTS | BD8511630 | BD,FAN/IGNITOR CONNECTOR WIRING (HT 330+ | EA | 20
PARTS | BD8511640 | BD,GAS VALVE/3 WAY VALVE/PUMP WIRE HARN | EA | 30
PARTS | BD8511650 | BD,FLUE TH/FAN CHECK/HEAT SYS (HT 330/+ | EA | 28
PARTS | BD8511670 | BD,DHW NTC SENSOR/PRESS/EXTERNAL SENSOR+ | EA | 12
PARTS | BD8511730 | BD,CABLE VENT/TH/CH SENSOR (HT 1.45/+ | EA | 40
PARTS | BD8512370 | BD,LEAD IGNITION ELECTRODE (HT 1.1000) | EA | 10
PARTS | BD8512880 | BD,CABLE SENS/MOD/PRESS H2O/FLUE/SFTY + | EA | 27
PARTS | BD8612100 | BD,MODULO SENSOR CABLE | EA | 10
PARTS | BD8612270 | BD,CABLE FAN/IGNITOR | EA | 19
PARTS | BD9950580 | BD,FUSE 2A 250V,LUNA HT 330/1.330 | EA | 2
PARTS | BD9950760 | BD,HIGH LIMIT(LUNA 1.31/310,HT1.33/380) | EA | 21
PARTS | BD9951070 | BD,THERMOSTAT LIMIT LUNA HT 380/1.330 | EA | 4
PARTS | BD9951280 | BD,COLD WATER INLET VALVE | EA | 21
PARTS | BD9951610 | BD,LIMIT T-STAT 105C | EA | 10
PARTS | BD9951650 | BD,MANOMETER D.40 (LUNA 3 1.310FI/310FI) | EA | 20
PARTS | BD9951690 | BD,PRESSURE SWITCH (HT 1.33/330/380/+ | EA | 20
PARTS | BD9951830 | BD,PRESSURE GAUGE (HT) | EA | 22